- Reliable DC Power Over Existing Category 5 Cabling

- Transforms Incoming AC Power Into Low-Voltage DC Power

- Optional Output 5VDC, 2.5Amps or 12VDC, 1 Amps

- No Software Required

- Operating System Independent

- Capable of up to 328 Feet (Node to Node)

- Support D-Link Wireless Access Point or Equivalent 5VDC or 12VDC System

- Support D-Link Wireless Routers Access Point or Equivalent 5VDC or 12VDC System

- Support D-Link Wireless Print Servers or Equivalent 5VDC or 12VDC System

- Support D-Link Internet Camera or Equivalent 5VDC or 12VDC System

RUS

- Надежный источник постоянного тока по имеющемуся кабелю категории 5

- Преобразует входной переменный ток в постоянный ток низкого напряжения

- Дополнительная выходная мощность 5 В, 2.5 А или 12 В, 1 А

- Не требуется установка программного обеспечения

- Независимость от операционной системы

- Длина соединения до 100 м (между узлами)

- Поддерживает беспроводные точки доступа D-Link или аналогичные системы с питанием от постоянного тока 5 В или 12 В

- Поддерживает беспроводные маршрутизаторы D-Link или аналогичные системы с питанием от постоянного тока 5 В или 12 В

- Поддерживает беспроводные принт-серверы D-Link или аналогичные системы с питанием от постоянного тока 5 В или 12 В

- Поддерживает Интернет-камеры D-Link или аналогичные системы с питанием от постоянного тока 5 В или 12 В